## Slide 1: Principle of fan beam CT

## Slide 2: Rebinning
p (r, θ) = g (γ, β)
r = x cos θ + y sin θ; s= - x sin θ + y cos θ
x = r cos θ - s sin θ; y = r sin θ + s cos θ
x=R cos ; y=R sin ;
p(r, θ) =  (R, ) (x cos +y sin - r) dx dy
r = R cos(θ -)
Applying the above rebinning conditions for fan beam CT,
g(D sin γ, γ +β) =  (R, ) (x cos (γ +β) +y sin (γ +β )- D sin γ) dx dy
r = R cos(γ + β -)

## Slide 3: 360 Degree Acquisition

## Slide 4: Filtered back projection
b(x,y)= f(x,y)  1/x2 +y2
B(x, y)= F(x, y)  1/x2 +y2
F(x, y)= B(x, y) ||
f(x,y)= IF[F(x, y)]= IF[B(x, y) ||]

## Slide 5: Computing fanbeam projection data
Arguments of fanbeam function:
- Image
- Distance between vertex and centre of rotation
- FanSensorGeometry (arc-default,line)
- FanSensorSpacing(angle/distance between sensors)
-FanRotationIncrement(fan rotation angle increment)

## Slide 6: FAN BEAM IMAGE RECONSTRUCTION
‘fanbeam’ function computes line integrals along path radiate from single source
Multiple projections rotating source around the centre of image

## Slide 7: Reconstruction of Image
Use ‘ifanbeam’ function
Arguments of ifanbeam:
-Projection Data
- Distance between vertex and centre of rotation
The ifanbeam function converts fan-beam projection data to parallel beam projection data with the fan2para function and calls iradon function to perform image construction.

## Slide 8: Example
P=phantom(256);
D=250;dsensor1=0.25
[F3, sensor_pos3, fan_rot_angles3] = fanbeam(P,D,... 'FanSensorSpacing',dsensor1);
[

## Slide 9
output_sizmax(size(P));
Ifan1 = ifanbeam(F1,D, ...
'FanSensorSpacing',dsensor1,'OutputSize',output_size);
Sensor spacing=2
Sensor spacing=1
Sensor spacing=0.25

## Slide 10: Comparison of radon and fanbeam